## Tests
section no | test no | Relates to Ticket. | Is automated | Could be automated | Brief description of task/issue/function | Brief description of test | Expected Outcome | Pass/Fail | Test Comments | Under Test (Y/N) | Test Notes
1 | 1 |  | Yes | Yes | The server starts in an appropriate way | To start server: start_ibex_server.bat in EPICS directory, preferably run from terminal, or check C:\Instrument\Var\logs\ibex_server for logs. Open IBEX client from Client_E4 Have a general look if there are any obvious issues. | No obvious errors or crashes. No flashing windows.
1 | 2 |  | No | Perhaps | The server starts in an appropriate way | Check DBSVR runs when IBEX server starts. C:\Instrument\var\logs\ioc\DBSVR | DBSVR runs when IBEX server starts.
1 | 3 |  | Yes | Perhaps | The server starts in an appropriate way | BLOCKSVR runs when IBEX server starts. C:\Instrument\var\logs\ioc\BLOCKSVR | BLOCKSVR runs when IBEX server starts.
1 | 4 |  | No | Perhaps | The server starts in an appropriate way | Check PSCTRL runs when IBEX server starts. C:\Instrument\var\logs\ioc\PSCTRL | PSCTRL runs when IBEX server starts.
1 | 5 |  | No | No | The server starts in an appropriate way | Check IOCLOG runs when IBEX server starts. C:\Instrument\var\logs\ioc\IOCLOG | IOCLOG runs when IBEX server starts.
1 | 6 |  | No | No | The server starts in an appropriate way | Check JMS runs when IBEX server starts. C:\Instrument\var\logs\ioc\JMS Console into JMS and see if there are any obvious errors. | JMS runs when IBEX server starts.
1 | 7 |  | No | Perhaps | The server starts in an appropriate way | Check RUNCTRL_01 runs when IBEX server starts. C:\Instrument\var\logs\ioc\RUNCTRL_01 | RUNCTRL_01 runs when IBEX server starts.
1 | 8 |  | No | No | The server starts in an appropriate way | Check if an IOC can be started from local console e.g. console -M localhost EUROTHRM_01 ctrl+X to start/stop an IOC ctrl+T to toggle auto-restart | Local console works.
1 | 9 |  | No | No | The server starts in an appropriate way | Check if an IOC can be started from remote console e.g. console -M NDXDEMO -l spudulike EUROTHRM_01 | Remote console works.
1 | 10 |  | No | No | The server starts in an appropriate way | All of the IOCs in the current configuration start with the server Check the logs to make sure | The IOCs in the current configuration (and set to auto-start) start when the server starts.
2 | 1 |  | No | No | genie_python | Run Apps\Python3\genie_python.bat | GeniePython opens.
2 | 2 |  | No | No | genie_python | Using a command window, run config_env.bat, then start python. In python: from genie_python.genie_startup import * | GeniePython imports successfully.
2 | 3 |  | No | Perhaps | genie_python | In both scripting window and genie_python console type 'load_script("' then press tab | Shows auto complete for files in c:\scripts
2 | 4 |  | No | Yes | genie_python | While the DAE is in a state it can begin a run: Clone the developers manual wiki and load the script "genie_python_dae.py" found in the testing folder from the scripting perspective using g.load_script(<script_name>). Run the script. | No assertions are violated.
2 | 5 |  | No | Yes | genie_python | Run previous test in a genie_python console. | No assertions are violated.
2 | 6 |  | No | Yes | genie_python | Create a config with SIMPLE IOC and blocks TEST_BLOCK_NUM (SIMPLE:VALUE:P5) and TEST_BLOCK_STR (SIMPLE:HELLO). Run the SIMPLE IOC. Run script "genie_python_blocks.py" from the testing area of the developer manual. | No assertions are violated.
2 | 7 |  | No | Yes | genie_python | Run previous test in a genie_python console. | No assertions are violated.
2 | 8 |  | No | No | genie_python | From a genie_python console (i.e. from the GUI) run `g.plot_spectrum(1)` | A matplotlib window should appear with a sensible plot (probably a flat line for a simulated instrument). No error message should appear in the scripting window. Make sure the default size of the window is sensible, such as half of the size of the scripting window.
2 | 9 |  | No | Perhaps | genie_python | Create a block pointing to a motor. Set the motor to move. Run waitfor_move(BLOCK_NAME). Wait for motor to stop or stop manually. | The function call waits until the motor stops before resolving.
2 | 10 |  | No | Perhaps | genie_python | Create a block pointing to a motor. Run check_limit_violations(BLOCK_NAME). Set the position to be under or over the High or Low limit of the motor. Run check_limit_violations(BLOCK_NAME) again. | First call returns an empty array. Second call returns the block name.
3 | 1 | 6737, 6577 | No | Perhaps | General GUI tests | Launch multiple instances of the client. Close some of the previous instances, leave some open and launch even more instances. Play around with opening and closing many instances. | If there is already at least one instance of the client open, trying to launch another instance will give a prompt asking to confirm the action. The above works regardless of order of opening/closing instances or count.
3 | 2 |  | No | No | General GUI tests | Open Help -> About in the GUI. See if version numbers correspond to the latest release. | About dialog has the expected values.
3 | 3 |  | Yes | Yes | General GUI tests | Open Dashboard (It's top part of IBEX GUI), while having IBEX server running | Current instrument is setup properly Labels and text dont have any obvious problems, no obvious errors.
3 | 4 | 3503 | No | Difficult | General GUI tests | Modify your current layout. Press the "Reset Layout" button. | The layout resets to default.
4 | 1 |  | Yes | Yes | Blocks Perspective | See if blocks match configuration. Some of them might be hidden, they can be shown by using right click on Blocks -> Show hidden blocks. | All blocks in the current configuration are shown correctly in the Blocks perspective.
4 | 2 |  | No | No | Blocks Perspective | Examine the way blocks are rendered in the Blocks perspective. | No half visible blocks. No visual anomalies with the blocks.
4 | 3 |  | No | Difficult | Blocks Perspective | Add a few blocks to the dashboard. From the perspective menu on the left, click the 'Refresh PVs' button. Repeat this process by restarting the client and repeatedly clicking the button constantly for a minute to make sure the GUI will not hang from this abuse. | The GUI never hangs. When pressing the button the blocks should disconnect and then connect again. Confirm that the same behaviour happens as when switching to current instrument.
5 | 1 |  | No | No | Alarms perspective | Check behaviour of "Alarms" perspective button. | Flashing if there is an alarm, steady red if alarm has been viewed.
5 | 2 |  | No | Perhaps | Alarms Perspective | Open the alarms tree. | Displays an appropriate tree of alarms.
6 | 1 |  | Yes | Yes | Beam Status Perspective | Check Beam Current panel. | The beam current is shown. Could be empty (for example when out of cycle).
6 | 2 |  | Yes | Yes | Beam Status Perspective | Check MCR News panel. | MCR news is shown and populated with some news.
6 | 3 |  | Yes | Yes | Beam Status Perspective | Check Beam Information panel. | The beam status info is shown. There is a chance no beam status is available (for example when out of cycle).
7 | 1 |  | Yes | Yes | DAE Perspective | Start a run | Run starts
7 | 2 |  | Yes | Yes | DAE Perspective | Switch between tabs (and sub-tabs) when the instrument is running | Tabs switch
7 | 3 |  | Yes | Partial | DAE Perspective | Check Experiment Setup sub-tabs while instrument is running | Contents are disabled
7 | 4 |  | Yes | Yes | DAE Perspective | End a run | Run ends
7 | 5 |  | Yes | Yes | DAE Perspective | Can switch between tabs (and sub-tabs) when the instrument is not running | Tabs switch
7 | 6 |  | Yes | Yes | DAE Perspective | Check Experiment Setup sub-tabs while instrument is NOT running | Contents are enabled
7 | 7 |  | No | Yes | DAE Perspective | Run Summary Tab: specify a filter value in the drop-down menu | Log message table only shows messages with a severity equal or higher than the filter value
7 | 8 |  | No | Yes | DAE Perspective | Experiment Setup, Time Channels: select a new time channel file without clicking 'Apply changes' | Does not update the current file
7 | 9 |  | No | YES | DAE Perspective | Experiment Setup, Data Acquisition: select a new wiring/detector/spectra table file without clicking 'Apply changes' | The current table does not update
7 | 10 |  | No | YES | DAE Perspective | Experiment Setup, Data Acquisition: select a new wiring/detector/spectra table file | The current table updates after clicking Apply Changes
7 | 11 |  | No | YES | DAE Perspective | Experiment Setup, Periods: select select a new period file without clicking 'Apply changes' | The current file does not update
7 | 12 |  | No | YES | DAE Perspective | Experiment Setup, Periods: select a new period file. | The current file updates after clicking Apply Changes
7 | 13 |  | No | Difficult | DAE Perspective | Switch to spectra plots tab, attempt to change Y-axis type | Spectra plots appear. Y-axis change is reflected in the graph's Y axis.
7 | 14 |  | No | Yes | DAE Perspective | Experiment Setup, Periods: content of "Period Settings" group changes appropriately depending on "Period Type" Selection | Software: can only r/w number of software periods; Hardware Internal: Hardware period sequences, delay and period source; Hardware External: like hardware internal but with period sequences and frames parameter disabled
7 | 15 |  | No | Yes | DAE Perspective | Experiment Setup, Periods: (only applicable for hardware period types) window shows appropriate controls depending on selected period source | "Specify Parameters" shows table with parameters, "Read from file" shows file selection drop down menu.
7 | 16 |  | No | Yes | DAE Perspective | When you have no TCB files in your settings then check the TCB file dropdown | Error message points to the correct location to place files
7 | 17 |  | No | Yes | DAE Perspective | 7-16 for wiring tables | Error message points to the correct location to place files
7 | 18 |  | No | Yes | DAE Perspective | 7-16 for detector tables | Error message points to the correct location to place files
7 | 19 |  | No | Yes | DAE Perspective | 7-16 for spectra tables | Error message points to the correct location to place files
7 | 20 |  | No | Yes | DAE Perspective | 7-16 for period files | Error message points to the correct location to place files
7 | 21 | #7386 | No | Difficult | DAE Perspective | Open a fresh client. As the first OPI you open, open the DAE perspective, then the spectra plot window | No pink borders surround the spectra plots
7 | 21 |  | No | Yes | DAE Perspective | Create a block called [PVPREFIX]:DAE:TITLE:DISPLAY. Check its value when the "Show Title and Users in Dataweb Dashboard Page" checkbox is ticked/unticked in the DAE run summary | Unticked: No. Ticked: Yes
8 | 1 |  | No | Yes | Experiment Details Perspective | Set a fake RB Number. | Should fail with message: "No users found! Please enter users manually!
8 | 2 |  | No | Yes | Experiment Details Perspective | Set a RB number of an actual Experimental Team https://github.com/ISISComputingGroup/ibex_developers_manual/wiki/Experimental-Database - Refer to testing section | Successful
8 | 3 |  | No | Yes | Experiment Details Perspective | Search for an RB number by user's name | Successful
8 | 4 |  | No | Perhaps | Experiment Details Perspective | check parameters table | All entries in the Parameter tables are relevant and have name and units
8 | 5 |  | No | No | Experiment Details Perspective | Open another client (client B) Accept the prompt to open another client | Client opens and contains the same experimental details as in original client (client A)
8 | 6 |  | No | Partial | Experiment Details Perspective | Alter the name information to include utf8 characters in the surname string "₣·₤·₥·₦·₧·₨·₩·₪·₫·₭·₮·₯·₹·ø" | Name is utf8 string in both Users (in banner) and Table for both client A and B
8 | 7 |  | No | Partial | Experiment Details Perspective | Alter the name information to include utf8 character in the forenames string "₣·₤·₥·₦·₧·₨·₩·₪·₫·₭·₮·₯·₹·ø surname" | Name is utf8 string in Table for both client A and B
8 | 8 |  | No | Partial | Experiment Details Perspective | Alter the institute to include the utf8 characters "₣·₤·₥·₦·₧·₨·₩·₪·₫·₭·₮·₯·₹·ø" Close the client B after the test | Institute is utf8 string in Table for both client A and B
9 | 1 |  | No | Yes | IOC log perspective | Limit the messages to different Severities using drop-down menu next to search (lower) More information on types and severities here: https://github.com/ISISComputingGroup/ibex_developers_manual/wiki/IOC-message-logging#view-plugin | Search results correctly filtered each time
9 | 2 |  | No | Yes | IOC log perspective | Limit the messages to different Types using drop-down menu next to search (upper) | Search results correctly filtered each time
9 | 3 |  | No | Yes | IOC log perspective | Display search results by different types (right click on header of the table and select different types) | Columns show/hide as expected
9 | 4 |  | No | Yes | IOC log perspective | Clear the search criteria, using X button next to search | Only the most recent log messages appear in table
9 | 5 |  | No | Difficult | IOC log perspective | Switch instruments and see if log messages are displayed from new instrument | Log messages from the new instrument are now displayed
9 | 6 | 1521 | No | Yes | IOC log perspective | Use the message simulator (found in IOCLogServer->master->dev-tools). Generate 150K plus messages and check if GUI still works | Messages with higher severity than the filter are shown. When sending messages in bulk, it may not arrive in order.
10 | 1 |  | partially | yes | Log plotter perspective | Select no blocks | Displays message explaining how to view block history
10 | 2 |  | No | yes | Log plotter perspective | Displays a block history (via the block menu) | block history correctly displays
11 | 1 |  | No | Difficult | Reflectometry perspective | Change the Theta parameter and click move. | Log contains change to theta parameter number and move parameter.
12 | 1 |  | No | yes | Motors Perspective | Switch between the tabs | Successful
12 | 2 |  | No | yes | Motors Perspective | Check motors | Any running motor records are visible
12 | 3 |  | No | yes | Motors Perspective | Click a motor | Opens a motor OPI
12 | 4 |  | No | yes | Motors Perspective | Open a motor OPI from the motors perspective. Switch instrument | The open OPI should close
13 | 1 |  | partially | Yes | Scripting Perspective | Wait for console to load Should start automatically loading when first time opening perspective Help and commands for this section can be found here: https://github.com/ISISComputingGroup/ibex_user_manual/wiki/genie_python-Commands | Loads successfully, with EPICS/GeniePython support. Run "g.cset" and check it exists. Check if you can import "inst" from console. |  | partially automated, opens the scripting console but does not check for "g.cset" or import "inst"
13 | 2 |  | No | Yes | Scripting Perspective | Read a block using cget in the scripting console | Returns correct value. |  | Checked squish test, cant find this specific test
13 | 3 |  | No | Yes | Scripting Perspective | Set a block in the scripting console | Value set |  | Checked squish test, cant find this specific test
13 | 4 |  | No | Yes | Scripting Perspective | Read a block using cshow | Value returned as string with information after in brackets |  | Checked squish test, cant find this specific test
13 | 5 |  | No | Yes | Scripting Perspective | Read a disconnected block using cget | Value returned as None |  | Checked squish test, cant find this specific test
13 | 6 |  | No | Yes | Scripting Perspective | Read a disconnected block with cshow | Value returned as "*** disconnected ***" |  | Checked squish test, cant find this specific test
13 | 7 |  | No | Yes | Scripting Perspective | start a run from the scripting console (DAE setup might be required, should be ready after DAE perspective tests) | Run starts |  | Checked squish test, cant find this specific test
13 | 8 |  | Yes | Yes | Scripting Perspective | pause a run from the scripting console (start first) | Run pauses
13 | 9 |  | Yes | Yes | Scripting Perspective | resume a run from the scripting console (pause first) | Run resumes
13 | 10 |  | No | Yes | Scripting Perspective | end a run from the scripting console | Run ends |  | Checked squish test, cant find this specific test
14 | 1 |  | perhaps | Yes | Synoptic Perspective | Browse the synoptic navigation | Elements correctly display |  | Double check this by running squish test
14 | 2 |  | perhaps | Yes | Synoptic Perspective | Open an OPI (from a synoptic element) | OPI opens |  | Double check this by running squish test
15 | 1 |  | No | Yes | Web Links Perspective | Switch to web links perspective | Links are displayed in perspective and work. |  | Checked squish test, cant find this specific test
15 | 2 |  | No | No | Web Links Perspective | Click links on page | Links open the correct web pages Launch Maintenance Website might not work on developer machine
16 | 1 |  | No | No | Configs | Open the java visual VM in C:\Program Files (x86)\Java\jdk<version>\bin\jvisualvm.exe and point it at the IBEX GUI (Select correct process in menu on the left). Keep it open through all the system tests to do with configurations. Install Java Visual VM if you dont have it More information can be found here: https://github.com/ISISComputingGroup/ibex_developers_manual/wiki/Debugging-memory-leaks-in-the-IBEX-GUI | This is not a test in itself, but will be needed for later to monitor for memory leaks | N/A
16 | 2 |  |  | Yes | Configs | 1. Create a new config 2. Try adding spaces and special characters to config name (it should not allow you to do so) 3. Try with legit config name (without spaces and special characters) 4. Choose load option after you save it | New configuration should load
16 | 3 |  | No | Yes | Configs | 1. Create a config. Set 1 IOCs to Auto Start, 1 IOC Auto restart, 1 IOC to both, 1 IOC to neither in a config. (Load it seperately) 2. Load that config. 3. Remove an ioc and add a different IOC | 1. config has the correct IOCs in it The two IOCs with Auto Start set have started. 2.The above is true again after replacing IOC 3.Loading config takes <10s
16 | 4 |  | Yes | Yes | Configs | Edit the current config (add an IOC), and save it | changes stored
16 | 5 |  | No | Yes | Configs | Edit the current config by adding an IOC and cancel the dialog | No new IOCs are started and no new IOCs have been added when you look in the edit config window again
16 | 6 |  | No | Yes | Configs | Edit the current config by adding a block(on motor PVs) with run control and logging enabled. Add PV which has a field (VAL, HLM on a motor) to the block. | Block created with correct PV Verify that PV search works when adding block
16 | 7 |  | No | Yes | Configs | Edit the current config by adding a block and cancel the dialog | No new blocks appear in the block view and no new blocks have been added when you look in the edit config window again
16 | 8 |  | No | Yes | Configs | Check new block log settings | Settings default to enabled and 30 s rate of periodic scan
16 | 9 |  | No | Perhaps | Configs | vary the run control limits | violations change
16 | 10 |  | No | Yes | Configs | Run control can be turned off for a block | Run control turns off
16 | 11 |  | No | Yes | Configs | Logging can be turned off for a block. To verify this, check in C:/Data. One of the log files in there should be where all the logged blocks can be found. | Logging turns off
16 | 12 |  | No | Yes | Configs | Run control can be reinstated for a block via the config editor | Run control reinstated
16 | 13 |  | No | Yes | Configs | Logging can be reinstated for a block via the config editor | Logging reinstated
16 | 14 |  | perhaps | Yes | Configs | Edit the current config (add a group), and save it | changes stored |  | Need to check if its really automated
16 | 15 |  | Yes | Yes | Configs | Add blocks to a group | blocks added
16 | 16 |  | No | Yes | Configs | Remove blocks from a group | blocks removed
16 | 17 |  | No | Yes | Configs | Remove a group | group removed
16 | 18 |  | No | Yes | Configs | Edit the current config by adding a group and cancel the dialog | No new groups appear in the block view and no new groups have been added when you look in the edit config window again |  | Checked squish test, cant find this specific test
16 | 19 |  | No | Yes | Configs | Create a new config and save as component | Component saves
16 | 20 |  | No | Yes | Configs | Create a new component | Component created
16 | 21 |  | Yes | Yes | Configs | Add components to the config | components added
16 | 22 |  | No | Yes | Configs | Edit the new component | Component updates Configuration also updated
16 | 23 |  | Yes | Yes | Configs | Remove components from the config | components removed
16 | 24 |  | No | Yes | Configs | Delete the new component | Component deletes
16 | 25 |  | No | Yes | Configs | Edit the current config by adding a component and cancel the dialog | No new components have been added when you look in the edit config window again
16 | 26 |  | No | Yes | Configs | Edit the current config (set IOC macro and IOC PV values), and save it. | Changes stored and applied at the IOC level
16 | 27 |  | No | Yes | Configs | Edit the current config by setting an IOC macro and cancel | The IOC macro has not changed in the IOC level and does not appear changed when the config is editted again
16 | 28 |  | No | Yes | Configs | Edit the current config (IOC PV values) and cancel | no changes seen
16 | 29 |  | No | Yes | Configs | Edit a config (not current) by setting some IOC macros. Load the config. | The new macro values are displayed in the config and they are applied to the respective IOCs
16 | 30 |  | No | Yes | Configs | Edit the current config, and save it | changes stored
16 | 31 |  | No | Yes | Configs | Edit the current config and cancel | no changes seen
16 | 32 |  | No | Yes | Configs | Delete a config | Config deletes
16 | 33 |  | No | Yes | Configs | Delete multiple configs simultaneously | Configs delete
16 | 34 |  | No | Yes | Configs | Create a new config. Click 'Save As'. Enter the name of the current configuration. | An error message appears saying the operation is invalid and the 'OK' button remains disabled.
16 | 35 |  | No | No | Configs | All configs can be viewed via their config name PV from a remote system. Example on NDXIRISTEST: 1. Run caget -S -t IN:IRISTEST:CS:BLOCKSERVER:CONFIGS ¦ uzhex 2. Find the PV for the config you want to view 3. Run caget -S -t IN:IRISTEST:CS:BLOCKSERVER:<>:GET_CONFIG_DETAILS ¦ uzhex | Successful
16 | 36 |  | No | Yes | Configs | Reload the config whilst an IOC not in the config is running (can be done via genie python g.reload_current_config()) | IOC stops
16 | 37 |  | No | Yes | Configs | 1. Create a configuration. Add an IOC. Set it to auto-start and put it in recsim mode. Save the config. 2. Edit the config, change the sim level to None. Save the config. | 1. Verify the IOC starts. 2. Verify that the Block Server restarts the IOC
16 | 38 |  | No | Yes | Configs | Add an IOC with custom settings (e.g. recsim) to a component Add the component to a config Load the config and run the IOC | It has the settings set in component, shouldnt be able to change custom setting in configuration menu as its part of a component
16 | 39 |  | No | Yes | Configs | Change the description in the current config, save. | Gateway, Runcontrol, Archiver and IOCs don't restart.
16 | 40 |  | No | Yes | Configs | Change blocks in the current config, save. | Gateway, Runcontrol, and Archiver restart.
16 | 41 |  | No | Yes | Configs | Delete a block | Block deletes
16 | 42 |  | No | No | Configs | After doing all of the above system tests, check that memory usage is not excessive. This can be done using the java visual VM which was opened in 14-0. Click here for detailed instructions | While doing all the tests, memory usage should be fluctuating between 100 and 200MB on average, with no upward trend over a long time period (fluctuations are normal).
17 | 1 |  | No | Yes | Configs and Synoptics | Create a synoptic and add it to a config as a default synoptic | Default synoptic added
17 | 2 |  | No | Yes | Configs and Synoptics | Edit the default synoptic of a config | Default synoptic edited
17 | 3 |  | No | Yes | Configs and Synoptics | Remove the default synoptic of a config | default synoptic removed
17 | 4 |  | No | Yes | Configs and Synoptics | Create a configuration. Set a default synoptic and save | previously selected synoptic is set as this configuration's default synoptic
17 | 5 |  | No | Yes | Configs and Synoptics | Open the Synoptic perspective. Check synoptic selected in drop-down | synoptic selected by default is the current configuration's default synoptic
17 | 6 |  | No | Yes | Configs and Synoptics | With the synoptic perspective open, switch configurations | new configuration's default synoptic automatically brought up
17 | 7 |  | No | Yes | Configs and Synoptics | In the synoptic perspective,push the load default button | Current configuration default synoptic selected in the drop-down
17 | 8 |  | Yes | Yes | Configs and Synoptics | Delete synoptic used in previous test | The synoptic will be deleted and no IOC error will be generated
18 | 1 |  | Yes | Yes | Synoptics | Create a synoptic and check if it is avilable in the drop down in the synoptic perspective. | Synoptic created and available in drop down.
18 | 2 |  | No | Yes | Synoptics | Attempt to create a synoptic with a name of greater than 30 characters | Error appears and synoptic cannot be saved
18 | 3 |  | Yes | Yes | Synoptics | Add a component to a synoptic. Change its type at least twice. | Component added. Each time the target details switch to the default for the selected type |  | Is automated, but required for test that is to delete components
18 | 4 |  | No | Yes | Synoptics | Add a new PV to a component | PV receives a default name that is unique (for that component)
18 | 5 |  | No | Yes | Synoptics | Copy a component on a synoptic | Component copies |  | Can't find squish tests, need to be created
18 | 6 |  | No | Yes | Synoptics | Copy multiple components on a synoptic (Note: Not the components as in sub-config) | Components copy |  | Can't find squish tests, need to be created
18 | 7 |  | No | Yes | Synoptics | Delete a component from a synoptic | Component deletes |  | Can't find squish tests, need to be created
18 | 8 |  | No | Yes | Synoptics | Delete multiple components from a synoptic | Components delete |  | Can't find squish tests, need to be created
18 | 9 |  | No | Yes | Synoptics | Create a synoptic. Add a component and select a target (e.g. Analyser) | Appropriate target details come up
18 | 10 |  | No | Yes | Synoptics | Using the Analyser*, alter the component target details to be something else(*or whichever you picked in the previous test) | Details change
18 | 11 |  | No | Yes | Synoptics | Confirm you can set a custom icon on the Analyser*, which persists when you change the target. Confirm this persists after saving and reopening the dialog. | Successful
18 | 12 |  | No | Yes | Synoptics | On the Analyser*, confirm the "Clear" button works (i.e. resets to an undefined component) and that subsequently selecting a target sets the correct default icon. | Successful
18 | 13 |  | No | Perhaps | Synoptics | All synoptics can be loaded on a remote instrument (especially synoptics with lots of components) Switch instruments to find one which is working | Synoptics load
18 | 14 |  | No | Yes | Synoptics | Create a synoptic that shows the beam, load it | beam is present
18 | 15 |  | No | Yes | Synoptics | Create a synoptic that doesn't show the beam, load it | beam is not present
18 | 16 |  | No | Yes | Synoptics | A synoptic can be edited after saving using "save as" | Synoptic editable
19 | 1 |  | Yes | Yes | IOC Start/Stop | Start an IOC from the menu | IOC starts
19 | 2 |  | Yes | Yes | IOC Start/Stop | Stop an IOC from the menu | IOC stops
19 | 3 |  | No | Yes | IOC Start/Stop | Using the console, stop an IOC set to auto-restart in the config. In server terminal: console -M localhost IOCNAME ctrl+X | IOC stops and restarts after a short time
19 | 4 |  | No | Yes | IOC Start/Stop | Press the "Restart" button in the start/stop IOC dialog both for IOC with and without "auto-restart" enabled. | IOC restarts
19 | 5 | 3795 | No | Yes | IOC Start/Stop | Add the Simple IOC to a test configuration with Auto-start and auto-restart ticked. Boot the Simple IOC. From an epics terminal issue the command `caput %MYPVPREFIX%SIMPLE:CRASHVALUE 1` to crash the IOC | The IOC should reboot. You shouldn't be prompted to debug the crashed IOC.
20 | 1 |  | No | Yes | Run Control | View the run control settings | Run control window opens |  | Can't find squish tests, need to be created
20 | 2 |  | No | Yes | Run Control | Edit the run control settings | Run controls edit correctly |  | Can't find squish tests, need to be created
20 | 3 |  | No | Yes | Run Control | Restore the configuration values for run control | values restore |  | Can't find squish tests, need to be created
21 | 1 |  | No | Yes | OPIs and IOCs | With an IOC started, open OPI, get an idea of length of time before blocks are connected | Pass at <5 seconds
21 | 2 |  | No | Yes | OPIs and IOCs | With an OPI open , Start IOC, get an idea of length of time before pvs are connected | pass at <5s
21 | 3 |  | No | Yes | OPIs and IOCs | Start IOC, open OPI, Restart IOC, get an idea of length of time | Pass at <5 seconds
21 | 4 |  | No | Yes | OPIs and IOCs | Start IOC, open OPI, Stop IOC, Wait 2 minutes, Restart IOC, get an idea of length of time before pvs reconnect | pass at <60 seconds
21 | 5 |  | No | Yes | OPIs and IOCs | Open OPI, Wait 2 minutes, Start IOC, get an idea of length of time | pass at <5 seconds
21 | 6 |  | No | No | OPIs and IOCs | Open rules_test.opi. Check all descriptions on the OPI match the actual behaviour. |  |  | Very difficult to test in an automated way with squish.
21 | 7 |  | No | Yes | OPIs and IOCs | Open the HVCAEN OPI by going to device screens -> edit device screens -> add new screen with CAEN HV as target, attempt to edit the list of channels in device screen properties (MAX_CHANNELS) | Allows you to see and edit the list of channels you can have
22 | 1 | 7286 | No | Difficult | Version Control | Check that the release contains a step for the upgrade scripts in misc/upgrade/master/upgrade.py and that deploying has updated config_version.txt in the config area | Config version In config_version.txt matches the release number
22 | 2 |  | No | No | Version Control | Following tests can only be done on Instrument machine or Test machine On a branch named after your system, create new configurations. | New configurations get added to the local repository (after 300 seconds) |  | Test it later
22 | 3 |  | No | No | Version Control | On a branch named after your system, change a configuration. | Config changes get committed to the local repository (after 300 seconds) |  | Test it later
22 | 4 |  | No | No | Version Control | On a branch named after your system, change a configuration. | Config changes get pushed to a remote repository (after 300 seconds) |  | Test it later
22 | 5 |  | No | No | Version Control | On a branch starting with ND that is not your system name, change a config | Config changes do not get committed or pushed (after 300 seconds) |  | Test it later
22 | 6 |  | No | No | Version Control | Create a config starting with rcptt_ | config not added to a repo |  | Test it later
22 | 7 |  | No | No | Version Control | Create a synoptic starting with rcptt_ | synoptic not added to a repo |  | Test it later
23 | 1 |  | Yes | Yes | Blocks | Create a block | Block appears in the blocks panel |  | Can't find squish tests, need to be created
23 | 2 |  | No | Yes | Blocks | Disconnect a connected block | appears disconnected within 5s |  | Can't find squish tests, need to be created
23 | 3 |  | No | Yes | Blocks | Reconnect a disconnected block (check various disconnection times up to 5mins) | appears connected within 10-20s |  | Can't find squish tests, need to be created
23 | 4 |  | No | Yes | Blocks | Start up SIMPLE IOC and put a block on VALUE1. Write a 4 into the PV to cause a MINOR-alarm state | Orange border around block |  | Can't find squish tests, need to be created
23 | 5 |  | Yes | Yes | Blocks | Take a block under run control and remove run control. | Run control icon disappears |  | Can't find squish tests, need to be created
23 | 6 |  | No | Yes | Blocks | Write a 1 to the VALUE1 PV to cause a MAJOR alarm. | Red border around block |  | Can't find squish tests, need to be created
23 | 7 |  | Yes | Yes | Blocks | Block pointing at ai: 0 is displayed as 0.000 (PREC 3) and 0.00000 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 8 |  | No | Yes | Blocks | Put block into an INVALID-alarm state (.SEVR field) | Purple border appears around block |  | Can't find squish tests, need to be created
23 | 9 |  | No | Yes | Blocks | Block pointing at ai: 0.1 is displayed as 0.100 (PREC 3) and 0.10000 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 10 |  | No | Yes | Blocks | Block pointing at ai: 0.01 is displayed as 0.010 (PREC 3) and 0.01000 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 11 |  | No | Yes | Blocks | Block pointing at ai: 0.001 is displayed as 0.001 (PREC 3) and 0.00100 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 12 |  | No | Yes | Blocks | Block pointing at ai: -0.001 is displayed as -0.001 (PREC 3) and -0.00100 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 13 |  | No | Yes | Blocks | Block pointing at ai: 0.001234 is displayed as 0.001 (PREC 3) and 0.00123 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 14 |  | No | Yes | Blocks | Block pointing at ai: -0.001234 is displayed as -0.001 (PREC 3) and -0.00123 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 15 |  | No | Yes | Blocks | Block pointing at ai: 0.0009 is displayed as 9.000E-4 (PREC 3) and 9.00000E-4 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 16 |  | No | Yes | Blocks | Block pointing at ai: -0.0009 is displayed as -9.000E-4 (PREC 3) and -9.00000E-4 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 17 |  | No | Yes | Blocks | Block pointing at ai: 15 is displayed as 15.000 (PREC 3) and 15.00000 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 18 |  | No | Yes | Blocks | Block pointing at ai: 999999 is displayed as 999999.000 (PREC 3) and 999999.00000 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 19 |  | No | Yes | Blocks | Block pointing at ai: -999999 is displayed as -999999.000 (PREC 3) and -999999.00000 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 20 |  | No | Yes | Blocks | Block pointing at ai: 1000000 is displayed as 1.000E6 (PREC 3) and 1.00000E6 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 21 |  | No | Yes | Blocks | Block pointing at ai: -1000000 is displayed as -1.000E6 (PREC 3) and -1.00000E6 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 22 |  | No | Yes | Blocks | Block pointing at ai: 1234567 is displayed as 1.235E6 (PREC 3) and 1.23457E7 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 23 |  | No | Yes | Blocks | Block pointing at ai: -1234567 is displayed as -1.235E6 (PREC 3) and -1.23457E7 (PREC 5) | displays correctly |  | Can't find squish tests, need to be created
23 | 24 |  | No | Yes | Blocks | Block pointing at longin: never displayed as scientific notation using the following script: from time import sleep for val in [0, 15, 999999, 1000000, 1234567]: g.cset(b.LONG_VAL, val) sleep(0.5) g.cset(b.LONG_VAL, -val) sleep(0.5) | displays correctly |  | Can't find squish tests, need to be created
23 | 25 |  | No | Yes | Blocks | Create a block. Right click on it in the blocks dashboard and select `Edit host configuration`. Change the block. Click cancel. | Changes are not applied |  | Can't find squish tests, need to be created
23 | 26 |  | No | Yes | Blocks | Create a block. Right click on it in the blocks dashboard and select `Edit host configuration`. Change the block. Click ok. | Changes are applied |  | Can't find squish tests, need to be created
23 | 27 |  | No | Yes | Blocks | Create a hidden block. Right click on any group and confirm that you can switch between showing and hiding the block. | Can show/hide block |  | Can't find squish tests, need to be created
23 | 28 | 1672 | No | Yes | Blocks | Create a group containing ONLY hidden blocks. | Group is NOT shown, except when the right-click option "Shown hidden blocks" is selected |  | Can't find squish tests, need to be created
23 | 29 | 3736 | No | Yes | Blocks | Right click on a block and click "View run-control settings" | Run control settings dialogue appears
23 | 30 |  | No | No | Blocks | Right-click edit block whilst on a read-only instrument | Edit host configuration/component submenu is disabled.
24 | 1 |  | No | Yes | Instrument List | Open instrument list (IBEX > Switch instrument) | List of supported instruments appears in the instrument list
24 | 2 |  | No | Yes | Instrument List | When on an instrument machine for an instrument in CS:INSTLIST, open the instrument list. | List of supported instruments appears in the instrument list
24 | 3 |  | No | Perhaps | Instrument List | On a developer machine, open the instrument list | List of supported instruments appears in the instrument list
24 | 4 |  | No | Yes | Instrument List | Can switch from local host to other instrument
24 | 5 |  | No | Yes | Instrument List | Can switch between two listed instruments
24 | 6 |  | No | Yes | Instrument List | Can switch to a custom instrument not on the list
24 | 7 |  | No | Yes | Instrument List | Switch instruments by typing an unknown name and giving it the correct prefix | Correctly switches |  | Checked squish test, cant find this specific test
25 | 1 |  | No | Yes | Device screen | Add a device screen and select 'Remove this device when IBEX is closed'. Restart the client | Device screen is removed from device screens list after restart
25 | 2 |  | partial | Yes | Device Screens | Attempt to add/edit/delete Device Screens | Successful |  | Can't find squish tests, need to be created
25 | 3 |  | No | Yes | Device screen | Add a device screen and select 'save this device screen'. Restart the client | Device screen is preserved on the device screens list after restart
25 | 4 |  | No | Yes | Device Screens | Confirm that device screens can not be saved if one or more items is not pointing at a target OPI. | If target is blank: Error message is shown naming the offending device screen & ok button is disabled
26 | 1 | 3213 | No | Yes | Menu items | Verify that the manager mode dialog can be opened first time. From GUI go to IBEX menu -> Manager mode. Ask the team or visit sharepoint for password. | The dialog should either ask you for a password if you aren't in manager mode already, or ask you if you want to leave manager mode if you were. (you should see "manager mode: active" in red).
26 | 2 |  | No | No | Menu Items | Whilst pointing to an instrument that you do not have write permission for open the Configuration submenu. | Edit submenu is now View.
26 | 3 |  | No | No | Menu Items | Whilst pointing to an instrument that you do not have write permission for open the Synoptic menu. | Edit submenu is now View.
26 | 4 |  | No | No | Menu Items | Whilst pointing to an instrument that you do not have write permission look at the top item of the Configurations menu | Top item is not edit current config but is view current config
26 | 5 |  | No | No | Menu items | Check that you can login to "manager mode" with the instrument scientist password. (Ibex menu -> manager mode). | Check that the banner item indicates that you have successfully entered manager mode (you should see "manager mode: active" in red).
26 | 6 |  | No | No | Menu items | Check that you can log out from "manager mode" after performing the above test. | "manager mode: No "in black
26 | 7 |  | No | Perhaps | Menu items | Open the GUI without opening the motors perspective. Change the colour scheme in the Preferences menu. | The table of motors colours background has changed.
26 | 8 |  | No | Perhaps | Menu items | With the motors perspective open, change the colour scheme in the Preferences menu. | The table of motors colours background has changed.
27 | 1 |  | No | Yes | JournalViewer | Check the JournalViewer can establish a connection to the database | Status at the bottom shows last refresh time
27 | 2 |  | No | No | JournalViewer | Check the JournalViewer handles failure to establish a connection properly. Change to a nonsense machine (e.g. abcdedg). | Status at the bottom shows highlighted error message in red.
27 | 3 |  | No | No | JournalViewer | Confirm the manual "Refresh" button works. | Viewer refreshed
28 | 1 | 7135 | No | Difficult | Script Generator | Add the NICOSDAEMON ioc to the current configuration. Verify that you can execute commands from the NICOS scripting perspective.
28 | 2 | 5090 | No | No | Script Generator | Wait for the open manual button to become enabled (shouldn't take more than a couple of seconds). Click the open manual button. Note: to use the script generator, you will first need to add the NICOSDAEMON ioc to your current configuration | This should launch your browser and either take you to the using the script generator page on shadow or github.
29 | 1 | 5750 | No | Yes | Disabled GUI tests | In the GUI repository, look for any skipped tests in https://github.com/ISISComputingGroup/ibex_gui/blob/master/base/uk.ac.stfc.isis.ibex.client.tycho.parent/pom.xml and run them manually from eclipse by right clicking on the test project and saying run as -> junit test | All tests which are disabled in maven should pass when manually running them from eclipse.

## Bugs
Bug Number | Fix, Ticket Ignore | Ticket Number (when added to git) | Title | From Test | Description (Description of what is wrong) | Steps to Reproduce
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25